## SoP001
GIFT POWER COMPANY LTD.
QUARTER :-2nd (July-18 to Sept-18)
YEAR :-2018-19
Performa - SOP 001 : Fatal and Non-fatal accident report for quarter ending .
Sr. No. | Name of area | No.of accidents in the quarter |  |  |  |  | Cumulative since the first quarter of the current FY year
|  | Departmental |  | Out side
|  | FH | NFH | FH | FA | NFH | FH | FA | NFH
1 | GIFT City | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
V.P. Electrical

## SoP003A (hidden)
GIFT POWER COMPANY LTD
Performa SoP 003 A: (already in the SoP regulation )
APPENDIX - A
Format for registering the complaints at complaint centres and offices of Junior Engineer / Assistant Engineer
Name of office: GIFT City
S.N. | Time & Date of receiving complaints | Name Address & A/c No. of the Complainant | Unique no. of Complaint | Complaint Classification |  | Time & date of redressal of grievance | Total time taken(in Hrs/mts.) | No. of Consumers affected | Total duration of interruption (8x9)=10(in hrs./mts) | Whether redressed within stipulated time as per standards of performance Yes/ No
|  |  |  | Nature of Complaints | Complaint Classification & its no.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
1 | 02.07.2018, 10:20:00 | 11KV WTP RMU-02 | C-236 | Power off | A(ii) | 02.07.2018, 10:21:00 | 0:01 | 1 | 0:01 | YES | SS
2 | 02.07.2018, 10:20:00 | 11kv I/C-02 | C-237 | Power off | A(ii) | 02.07.2018, 10:21:00 | 0:01 | 457 | 7:37 | YES | SS
3 | 02.07.2018, 09:05:00 | NORTH GATE | C-238 | Power off | A(ii) | 02.07.2018, 11:10:00 | 2:05 | 1 | 2:05 | YES
4 | 03.07.2018, 09:56:00 | WTC PROACTIVE | C-239 | Power off | A(ii) | 03.07.2018, 10:02:00 | 0:06 | 3 | 0:18 | YES
5 | 03.07.2018, 16:35:00 | ASPIRE-1 | C-240 | Power off | A(ii) | 03.07.2018, 16:40:00 | 0:05 | 1 | 0:05 | YES
6 | 08.07.2018, 19:11:00 | 66KV LINE-01 | C-241 | Power off | A(ii) | 08.07.2018, 19:16:00 | 0:05 | 82 | 6:50 | YES | SS
7 | 10.07.2018, 11:02:00 | STP PLANT | C-242 | Power off | A(ii) | 10.07.2018, 11:17:00 | 0:15 | 1 | 0:15 | YES
8 | 11.07.2018, 08:45:00 | TRAFO-04 (20 MVA) | C-243 | Power off | A(ii) | 11.07.2018, 08:47:00 | 0:02 | 458 | 15:16 | YES | SS
9 | 11.07.2018, 11:50:00 | DATA CENTRE O/G-02 | C-244 | Power off | A(ii) | 11.07.2018, 11:58:00 | 0:08 | 1 | 0:08 | YES | SS
10 | 11.07.2018, 18:47:00 | 66KV LINE-01 | C-245 | Power off | H | 11.07.2018, 18:52:00 | 0:05 | 603 | 50:15 | YES | SS
11 | 28.07.2018, 20:41:10 | STP PLANT | C-246 | Power off | A(ii) | 28.07.2018, 20:51:00 | 0:10 | 1 | 0:10 | YES
12 | 03.08.2018, 01:10:00 | WTC PROACTIVE | C-247 | Power off | A(ii) | 03.08.2018, 01:20:00 | 0:10 | 3 | 0:30 | YES
13 | 21.08.2018, 07:45:00 | FIROZPUR BOREWELL | C-248 | Power off | A(ii) | 21.08.2018, 19:02:00 | 11:17 | 1 | 11:17 | YES
14 | 23.08.2018, 15:40:00 | BRIGADE O/G-01 | C-249 | Power off | A(ii) | 24.08.2018, 03:40:00 | 12:00 | 1 | 12:00 | YES | SS
15 | 23.08.2018, 15:40:00 | 33KV I/C-01 | C-250 | Power off | A(ii) | 23.08.2018, 15:41:00 | 0:01 | 511 | 8:31 | YES | SS
16 | 29.08.2018, 02:35:00 | NSE (2ND SOURSE) | C-251 | Power off | A(ii) | 29.08.2018, 02:36:00 | 0:01 | 1 | 0:01 | YES
17 | 27.09.2018, 16:07:00 | Q block | C-252 | Power off | A(ii) | 27.09.2018, 16:07:26 | 0:00 | 512 | 3:42 | YES | SS

## SoP003B
GIFT POWER COMPANY LTD
Performa SoP 003 B:
APPENDIX - B (already in the SoP regulation )
REGISTER FOR COMPILING THE COMPLAINTS CLASSIFICATIONWISE
Quarter of the year: (2nd)(July 2018- Sept 2018)
NAME OF OFFICE- GIFT City
Classification | Pending complaint of previous quarter | Complaints received during the quarter | Total complaints | No.of complaints redressed during the Qtr |  |  |  |  | Balance complaints to be redressed (4) - (9) | Classification of complaint
|  |  |  | In stipulated time |  | Beyond stipulated time |  | Total (5) to (8)
|  |  |  | Within 50% of stipulated time | Within stipulated time | Upto double the stipulated time | More than double the stipulated time
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
A(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Loose conn. from pole | VS
A(ii) | 0 | 16 | 16 | 14 | 2 | 0 | 0 | 16 | 0 | Int.due to line breakdown | VS
A(iii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Interruption due to failure of transformer | VS
B(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Ordinary case, which requires no augmentation | VS
B(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Where augmentation is required
C(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Stopped/Defective Meters | AD
C(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Billing on average basis for more than two bills | SJ
D(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Loose Wires
D(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Inadequate ground clearance
E(i) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | For current bills where no additional information is required | SJ
E(ii) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Where additional information relating to correctness of reading etc. is required | SJ
F(i) | 0 | 26 | 26 | 25 | 0 | 0 | 0 | 25 | 1 | Where extension of mains is not required | AD
F(ii) | 312 | 5 | 317 | 75 | 241 | 0 | 0 | 316 | 1 | Where extension of mains is required | AD
F(iii) | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | Modification in connected load | AD
F(iv) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Name change/reconnection | AD
G | 6 | 23 | 29 | 0 | 24 | 0 | 0 | 24 | 5 | Refund of amount due in regard to temporary connection | AD
H | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | Others (Power Fail from GETCO) | VS
Total | 318 | 72 | 390 | 116 | 267 | 0 | 0 | 383 | 7

## SoP004
GIFT POWER COMPANY LTD
QUARTER : 2nd (July-18 to Sept-18)
YEAR :-2018-19
Performa SoP 004 : Publicity Carried Out
1 | 2 | 3 | 4
1 | Through Regular Energy Bills |  | Energy Bill

## SoP005A
GIFT POWER COMPANY LTD.
QUARTER :-2nd (July-18 to Sept-18)
YEAR :-2018-19
Performa SoP 005 A: Action taken report by the Redressal Committee I
Name of the complaint | Complaint Unique Number | Complaint Classification | Time & Date of 1st meeting | Details of Redressal procedure carried out | Time & Date of 2nd meeting | Details of Redressal procedure carried out | Time & Date of 3rd meeting | Details of Redressal procedure carried out | Oredr in favour of Con /DL
Nil | Nil | Nil | 11/07/2018 10:00AM TO 12:00PM | Nil | 25/07/2018 10:00AM TO 12:00PM | Nil | Nil | Nil
Nil | Nil | Nil |  | Nil |  | Nil | Nil | Nil
Nil | Nil | Nil | 08/08/2018 10:00AM TO 12:00PM | Nil | 22/08/2018 10:00AM TO 12:00PM | Nil | Nil | Nil
Nil | Nil | Nil |  | Nil |  | Nil | Nil | Nil
Nil | Nil | Nil | 12/09/2018 10:00AM TO 12:00PM | Nil | 26/09/2018 10:00AM TO 12:00PM | Nil | Nil | Nil

## SoP005B
GIFT POWER COMPANY LTD.
QUARTER :-2nd (July-18 to Sept-18)
YEAR :-2018-19
Performa SoP 005 B: Action taken report by the Redressal Committee II
Sr. No. |  | Date and time meeting conducted | No. of complaints registered at the meeting | No. of complaints pending at the end of the meeting | Nos of cases Disposed | Location of Hearing
1 | 2018-07-15 | 11/07/2018 10:00AM TO 12:00PM | Nil | Nil | Nil | GIFT City
|  | 25/07/2018 10:00AM TO 12:00PM | Nil | Nil | Nil | GIFT City
2 | 2018-08-15 | 08/08/2018 10:00AM TO 12:00PM | Nil | Nil | Nil | GIFT City
|  | 22/08/2018 10:00AM TO 12:00PM | Nil | Nil | Nil | GIFT City
3 | 2018-09-15 | 12/09/2018 10:00AM TO 12:00PM | Nil | Nil | Nil | GIFT City
|  | 26/09/2018 10:00AM TO 12:00PM | Nil | Nil | Nil | GIFT City

## SoP006
GIFT POWER COMPANY LTD.
QUARTER :-2nd (July-18 to Sept-18)
YEAR :-2018-19
Performa SOP 006 : Failure of Distribution Transformer.
Sr. No. | Class | No. of existing Distribution transformer at the start of the quarter 01.07.2018 | No.of Distribution transformers added during the quarter | Total number of Distribution transformers As on 30.09.18 | Total number of Distribution tranformer failed during the quarter | % failure rate of Distribution transformer during the quarter
|  | A | B | C=A+B | D | H= (D) * 100/C
Transformer of GIFT Power
1 | 11 KV / 0.415 KV | 2 | 0 | 2 | 0 | 0 | SS
2 | 11 KV / 0.415 KV | 9 | 0 | 9 | 0 | 0 | CSS
3 | 33 KV / 0.415 KV | 5 | 0 | 5 | 0 | 0 | STP-01,STP-02,FIRE STATION,MMR,DCS
Transformer of Consumers
4 | 11 KV / 0.415 KV | 2 | 0 | 2 | 0 | 0 | WTP
5 | 11 KV / 0.415 KV | 3 | 0 | 3 | 0 | 0 | DCS
6 | 33 KV / 0.415 KV | 5 | 0 | 5 | 0 | 0 | Q BLOCK
7 | 11 KV / 0.415 KV | 1 | 0 | 1 | 0 | 0 | WTC (Const.)
8 | 11 KV / 0.415 KV | 1 | 0 | 1 | 0 | 0 | MSK (Const.)
9 | 33 KV / 0.415 KV | 2 | 0 | 2 | 0 | 0 | Data Centre
10 | 33 KV / 0.415 KV | 2 | 0 | 2 | 0 | 0 | Signature tower
11 | 33 KV / 0.415 KV | 0 | 2 | 2 | 0 | 0 | Brigade tower+NSE
12 | 33 KV / 0.415 KV | 0 | 2 | 2 | 0 | 0 | GIFT Club
Total |  | 32 | 4 | 36 | 0 | 0

## SoP 007
GIFT POWER COMPANY LTD.
QUARTER :-2nd (July-18 to Sept-18)
YEAR :-2018-19
Performa - SOP 007 : Failure of Power Transformer
Sr. No. | Class | No. of existing Power transformer at the start of the quarter 01.07.2018 | No.of Power transformers added during the quarter | Total number of Distribution transformers As on 30.09.18 | Total number of Distribution tranformer failed during the quarter | % failure rate of Distribution transformer during the quarter
Transformer of GIFT Power
1 | 66KV/ 33 KV | 4 | 0 | 4 | 0 | 0 | SS
2 | 33 KV / 11 KV | 2 | 0 | 2 | 0 | 0 | SS
3 | 11 KV / 33 KV | 2 | 1 | 3 | 0 | 0 | SS (DG)
Transformer of Consumers
3 | 33 KV / 11 KV | 2 | 0 | 2 | 0 | 0 | DCS
Total |  | 10 | 1 | 11 | 0 | 0

## sop011 Ist Qtr.
GIFT POWER COMPANY LTD
QUARTER :-2nd (July-18 to Sept-18)
YEAR :-2018-19
SoP 011 - A : System Average Interrruption Frequency Index (SAIFI)
Sr. No | Month | Ni - Number of Customers for each sustained interruptions (in numbers) | NT - Total No of customers served (in Numbers) | CI=∑ Ni | SAIFI = ∑ Ni/Nt (Monthly SAIFI)
1 | 2 | 3 | 4 | 5 | 6=5/4
1 | 2018-07-08 | 1 | 603 | 1 | 0.0016584
2 | 2018-08-08 | 1 | 604 | 1 | 0.0016556
3 | 2018-09-08 | 0 | 611 | 0 | 0
SoP 011 - B : System Average Interrruption Duration Index (SAIDI)
Sr. No | Month | Ri = Restoration Time for each sustained interruption event (in hours) | Ni - Number of interrupted Customers for each sustained interruption event (in numbers) | Ri* Ni - Total customer interrution Duration | NT - Total No of customers served (in Numbers) | Customer Intt. Duration CMI = ΣRi*Ni | SAIDI = ΣRi*Ni/Nt (Monthly SAIDI)
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2018-07-08 | 0:08 | 1 | 0.0055556 | 603 | 0.0055556 | 0:00
2 | 2018-08-08 | 12:00 | 1 | 0.5 | 604 | 0.5 | 0:01
3 | 2018-09-08 | 0:00 | 0 | 0 | 611 | 0 | 0:00
SoP 011 - C : Momentary Average Interruption Frequency Index (MAIFI)
Sr. No | Month | IMi = Number of Momentary interruptions for the month (in numbers) | Nmi = Total no of customers for each momentary interruptions (in numbers) | Imi =Nmi Number of customer Momentary interruptions (in numbers) | Nt - Total no of customers served (in numbers) | Customer Intt. ΣImi*Nmi | MAIFI=ΣImi*Nmi/Nt
1 | 2 | 3 | 4 | 5 = 3 * 4 | 6 | 7 | 8=7/6
1 | 2018-07-08 | 5 | 1601 | 1601 | 603 | 1601 | 2.6551
2 | 2018-08-08 | 1 | 511 | 511 | 604 | 511 | 0.84603
3 | 2018-09-08 | 1 | 512 | 512 | 611 | 512 | 0.83797

## SoP 12
HALF YEARLY (April 2018 -Sept 2018)
SOP 012- CALCULATION OF SYSTEM LOSSES AT EHT / 33KV
1 | Losses in 33KV system and connected Equipment
| i. | Energy Delivered into EHT/33KVand LT Distribution System from EHT/11KV SSs ( MUs) | A | 9.89
| ii. | Energy Sold billed. EHT Direct sales (MUs) | B | 3.5227
| iii. | Energy Sold (Billed) in the 33/11KV | C | 5.9461
| iv. | Total sales (Mus) | (B+C) | 9.4688
| v. | Losses(MUs) | {(A)-(B+C)} | 0.4212
| vi | % Losses | {(A)-(B+C)} x 100 / (A) | 4.259%

## SOP 013
GIFT POWER COMPANY LIMITED
Performa SoP 013: Meter faults
Consumer Category | No. of faulty meters at the start of the quarter / year | No. of faulty meters added during the quarter / year | Total no. of defective / faulty Meter | No. of faulty Meters repaired and replaced | No of faulty meters pending at the end of the quarter
| 1 | 2 | (3)=(2)+(1) | 4 | (5)=(3)-(4)
Single Phase | 0 | 0 | 0 | 0 | 0
Three Phase | 0 | 1 | 1 | 1 | 0
HT | 0 | 0 | 0 | 0 | 0

## Sop 14
GIFT POWER COMPANY LIMITED
Annual Report: (April-18 to September-18)
GIFT POWER COMPANY LTD.
Performa SoP 014
Quarter | Months | Units input | Units Billed (MUs) | Billing Efficiency | Revenue Billed (Rs. Lacs) | Revenue Collected (Rs. Lacs) | Collection Efficiency % | Business Efficiency | ATC Loss%
(MUs)
|  | A | B | C = (B/A)*100 | D | E | F = (E/D)*100 | G = (C*F)/100 | H = 100 - G
I | 2018-04-01 | 1.53 | 1.4404 | 94.145 | 109.8358 | 86.6834 | 78.9209 | 74.3001 | 25.6999
| 2018-05-01 | 3.27 | 3.0555 | 93.4414 | 227.0272 | 190.1434 | 83.7536 | 78.2605 | 21.7395
| 2018-06-01 | 5.05 | 4.8032 | 95.1127 | 356.8036 | 307.0628 | 86.0593 | 81.8533 | 18.1467
II | 2018-07-01 | 6.67 | 6.4537 | 96.757 | 479.3645 | 417.5892 | 87.1131 | 84.288 | 15.712
| 2018-08-01 | 8.29 | 7.9828 | 96.2939 | 592.364 | 504.5276 | 85.1719 | 82.0154 | 17.9846
| 2018-09-01 | 9.89 | 9.4688 | 95.7411 | 703.5694 | 599.0522 | 85.1447 | 81.5185 | 18.4815

## Sop 15
Performa SoP 015: Release of New Connection status 2018-19
GIFT City, Gandhinagar | Consumer category | Total no. of consumers connected at the beginning of 2018-19 | Pending at the Beginning of the of the 2018-19 | New Applications received during the 2018-19 | No. of connections released during the 2018-19 | No. of applications pending at the end of half-year 2018-19 | Total no. of consumers connected at the end of half-year 2018-19
1st Half | Domestic | 0 | 90 | 262 | 352 | 0 | 352
| Commercial | 156 | 3 | 112 | 113 | 2 | 236
| Industrial LT | 4 | 0 | 3 | 3 | 0 | 7
| Agriculture (Total) | 0 | 0 | 0 | 0 | 0 | 0
| Industrial HT | 14 | 1 | 3 | 4 | 0 | 16
| Total | 174 | 94 | 380 | 472 | 2 | 611
2nd Half | Domestic | 352 | 0 | 0 | 0 | 0 | 352
| Commercial | 236 | 2 | 0 | 0 | 0 | 236
| Industrial LT | 7 | 0 | 0 | 0 | 0 | 7
| Agriculture (Total) | 0 | 0 | 0 | 0 | 0 | 0
| Industrial HT | 16 | 0 | 0 | 0 | 0 | 16
| Total | 611 | 2 | 0 | 0 | 0 | 611
Annual | Domestic | 0 | 90 | 262 | 352 | 2 | 352
| Commercial | 156 | 3 | 112 | 113 | 0 | 236
| Industrial LT | 4 | 0 | 3 | 3 | 0 | 7
| Agriculture (Total) | 0 | 0 | 0 | 0 | 0 | 0
| Industrial HT | 14 | 1 | 3 | 4 | 0 | 16
| Total | 174 | 94 | 380 | 472 | 2 | 611

## SoP016
GIFT POWER COMPANY LTD
QUARTER :-2nd (July-18 to Sept-18)
YEAR :-2018-19
Performa SoP 016 : Compensation details
COMPENSATION DETAILS
Sr. No. | Event | Compensation | No. of cases where compensation was given (in numbers) | Amt.of compensation paid (in Rs.)
1 | Duty to provide supply | Rs.50 per day of delay from the limit specified in the performance regulations | …NIL… | ……NIL…..
| a) New connection |  | …NIL… | ……NIL…..
| b) Additional load |  | …NIL… | ……NIL…..
| c) Temporary supply |  | …NIL… | ……NIL…..
| d) Shifting service connection |  | …NIL… | ……NIL…..
| e) Transfer of service connection |  | …NIL… | ……NIL…..
| f) Change in tariff category of consumer |  | …NIL… | ……NIL…..
2 | Complaints in billing | Rs.50 for non reply within the period prescribed in Regulations | …NIL… | ……NIL…..
3 | Replacement of meters | LT Rs.25 per day of delay maximum Rs.2,500 and HT Rs. 250 per day of delay maximum of Rs. 5,000/- | …NIL… | ……NIL…..
4 | Interruption of supply | LT Rs.25 for every 6 hrs. of delay maximum of Rs.500 and HT Rs. 50 for every 6 hrs. delay maximum Rs. 1000 | …NIL… | ……NIL…..
5 | Voltage fluctuations and complaints | Rs.50 for failure to visit or convey findings wihin the stipulated period | …NIL… | ……NIL…..
6 | Responding to consumers complaints | Rs. 25 for each day of delay maximum Rs. 500 | …NIL… | ……NIL…..
7 | Grievance Handling | Rs. 25 for failure in handling grievance. | …NIL… | ……NIL…..
| TOTAL :- |  | …NIL… | ……NIL…..